## Slide 1: Evaluation of the effect of reducing administered activity on assessment of function in cardiac gated SPECT
Head shot of author
required
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology
Albert Juan Ramon: Illinois Institute of Technology, Medical Imaging Research Center, Chicago, IL
Yongyi Yang, PhD: Illinois Institute of Technology, Medical Imaging Research Center, Chicago, IL
P. Hendrik Pretorius, PhD: University of Massachusetts Medical School, Dept. of Radiology, Worcester, MA
Piotr J. Slomka, PhD: Dept. of Medicine, Cedars-Sinai Medical Center, Los Angeles, CA
Karen L. Johnson: University of Massachusetts Medical School, Dept. of Radiology, Worcester, MA
Michael A King, PhD: University of Massachusetts Medical School, Dept. of Radiology, Worcester, MA
Miles N. Wernick, PhD: Illinois Institute of Technology, Medical Imaging Research Center, Chicago, IL
Copyright American Society of Nuclear Cardiology

## Slide 2: BACKGROUND
We previously optimized several reconstruction strategies in SPECT myocardial perfusion imaging (MPI) with low dose for perfusion-defect detection. Here we investigate whether reducing the administered activity (uniformly across patients or personalizing dose levels) can also maintain the diagnostic accuracy in evaluating cardiac function.
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology

## Slide 3: METHODS
Study type:
  Comprehensive study
Study subjects:
  163 subjects acquired by a Philips BrightView SPECT/CT system. 96 read as having normal wall motion/thickening by expert nuclear cardiology/medicine physicians; 67 patients read as having various degrees of motion and thickening abnormalities.
Study endpoints:
  Evaluated the agreement of motion/thickening and ejection fraction (EF) measures at various reduced dose levels (uniform across patients or personalized dose) with full dose. Quantified the detectability of abnormal motion via a receiver-operating characteristics (ROC) study.
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology

## Slide 4: RESULTS
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology
 |  | 100% dose | 50% dose | 25% dose | 12.5% dose | Personalized dose
FBP | SMS | 5.42 ± 8.63 | 5.55 ± 8.59 | 5.81 ± 8.48 | 7.66 ± 9.27* | 5.44 ± 8.56
 | STS | 3.50 ± 6.16 | 3.68 ± 6.19 | 4.26 ± 6.54 | 5.69 ± 7.16* | 3.51 ± 6.13
 | EF | 51.22 ± 12.26 | 51.35 ± 12.27 | 51.54 ± 12.24 | 50.32 ± 12.39* | 51.30 ± 12.30
OSEM | SMS | 5.89 ± 9.39 | 6.15 ± 9.59 | 6.51 ± 9.69 | 7.93 ± 10.59* | 5.92 ± 9.44
 | STS | 3.92 ± 6.24 | 4.37 ± 6.57 | 4.79 ± 6.66 | 6.04 ± 7.64* | 4.12 ± 6.48
 | EF | 49.31 ± 11.88 | 49.39 ± 11.97 | 49.95 ± 12.10 | 50.31 ± 13.68* | 49.35 ± 11.95
The mean and standard deviation values of global motion scores (SMS), global thickening scores (STS), and ejection fraction (EF) obtained with FBP and OS-EM reconstruction. The asterisk (*) signifies a statistically significant difference from full dose at level < 0.001 (paired t-test).

## Slide 5: RESULTS
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology
ROC study results on abnormal motion detection based on the summed motion percentage score (SM%) (Left) and summed thickening percentage score (ST%) (Right). Results are shown for both FBP and OS-EM reconstruction at different dose levels (i.e., 100%, 50%, 25%, 12.5% dose, and personalized dose).

## Slide 6: CONCLUSIONS
1- Similar reduced dose levels for perfusion-defect detection in SPECT-MPI were found to be also suitable for function assessment.
2- Reducing the dose down to 25% of full dose does not have a statistically significant impact on the regional or global motion/thickening measures.
3- At 12.5% of full dose, LV basal segments were found to be sources of difference in motion/thickening scores from the 100% dose.
4- The detection performance with personalized dose was equivalent to that with full dose.
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology