## Slide 1
Basic of FRET ratio
corrections
CFP residual emission at YFP specific wavelenghts when exited at CFP specific l 431 nm (only CFP expressed).
Corrected for spectral concentration of CFP in two transfections – CFP and FRET to normalize to number of cells and transfection efficiency
CFP residual emission at YFP specific wavelenghts when exited at YFP specific l 497 nm (only CFP expressed).
Corrected for spectral concentration of CFP in two transfections – CFP and FRET to normalize to number of cells and transfection efficiency
431 nm CFP specific exitation
497 nm YFP specific exitation
480 nm CFP specific emission
530 nm YFP specific emission
YFP emission normalized to spectral concentration of YFP in two transfections, YFP and FRET (in later, the residual emission from CFP is retracted)
Notes: Illustration and explanation how 'FRET ratio' is calculated.

## Slide 2
Chart: 
Chart: 
Chart: 
Chart: 
Chart: 
Chart: 
Fluorochromes: CFP YFP CFP+YFP (FRET)
Exitation 431 nm
Exitation 497 nm
CFP431/530
YFP431/530
FRET431/530
CFP497/530
YFP497/530
FRET497/530