## Slide 1
Evaluating Digital PCR for the quantification of human genomic DNA: Accessible amplifiable targets Margaret C. Kline, Erica L. Romsos, David L. Duewer Materials Measurement Laboratory National Institute of Standards and Technology Gaithersburg, MD 20899-8390 USA Contact: David.Duewer@nist.gov Supporting Information Trevigels of enzyme-cut NIST1 and NIST2 DNAs Flashgels of enzyme-cut NIST3 and NIST4 DNAs Exemplar Trevigel of enzyme-cut and sham-cut NIST2 DNA

## Slide 2
4000
200
1250
800
500
300
48502
10171
Ladder Hi
Alu I
EcoRI
Hae III
TE
Pst I
Ladder Lo
Ladder Hi
NIST1
NIST1 and NIST2 Trevigels
4000
1250
800
500
300
Ladder Hi
Alu I
EcoRI
Hae III
TE
Pst I
Ladder Lo
Ladder Hi
48502
10171
NIST2
High-resolution Trevigels were used to confirm that the uncut TE DNAs were little fragmented and that the enzyme-cut samples were thoroughly and characteristically fragmented.
Gel Parameters
0.7 % Trevigel 5000 in 1X TAE Buffer (0.21 g)
30 mL gel matrix made
microwaved ≈ 1 m
Poured setup 20 min RT
Transfered to 4 °C for 1 h
TAE buffer also stored at 4 °C
Samples 5 µL combined with 6X Loading buffer
Stained 20 min with SybrGreen I gel stain
Ladder Lo: Flash gel DNA Marker
100,200,300,500,800,1250,2000,4000 bp
Ladder Hi: GeneRuler High Range DNA Ladder
10171,12119,13825,15258,17000,20555,24508,48502 bp

## Slide 3
Ladder PstI AluI EcoRI HaeIII TE
4000
2000
1250
800
500
300
200
100
NIST3
Ladder PstI AluI EcoRI HaeIII TE
4000
2000
1250
800
500
300
200
100
NIST4
Having confirmed that the uncut TE DNAs were little fragmented, these limited resolution Flashgels were used to confirm that the enzyme-cut samples were thoroughly and characteristically fragmented.
NIST3 and NIST4 FlashGels

## Slide 4
1 2 3 4 5 6 7 8 9 10
Cut samples: Enzyme-restricted NIST2 DNA
Sham-cut Samples: NIST2 DNA manipulated in identical manner, but with TE instead of enzyme-containing solution
Exemplar Trevigel of Cut and Sham-cut Samples
Band | Sample
1 | Flash gel DNA Marker: 100,200,300,500,800,1250,2000,4000 bp
2 | GeneRuler High Range DNA Ladder: 10171,12119,13825,15258,17000,20555,24508,48502 bp
3 | NIST2 PstI Cut
4 | NIST2 Pst Sham-cut
5 | NIST2 AluI Cut
6 | NIST2 Alu Sham-cut
7 | NIST2 HaeIII Cut
8 | NIST2 Hae Sham-cut
9 | NIST2 TE
10 | GeneRuler High Range DNA Ladder
Gel Parameters
0.7 % Trevigel 5000 in 1X TAE Buffer (0.21 g)
30 mL gel matrix made
microwaved ≈ 1 m
Poured setup 20 min RT
Transfered to 4 °C for 1 h
TAE buffer also stored at 4 °C
Samples 5 µL combined with 6X Loading buffer
Run @ 45 V for 130 min
Stained 20 min with SybrGreen I gel stain