## Slide 1: Evaluating Digital PCR for the quantification of human genomic DNA: Accessible amplifiable targets Margaret C. Kline, Erica L. Romsos, David L. Duewer Materials Measurement Laboratory National Institute of Standards and Technology Gaithersburg, MD 20899-8390 USA Contact: David.Duewer@nist.gov Supporting Information Exemplar cdPCR and ddPCR graphics of: {Alu, Hae, and Pst}{cut, sham-cut, untreated} NIST2 DNA evaluated with {D5, ND14, and HBB1} {Alu, Eco, Hae, and Pst}{cut, sham-cut, untreated} NIST3 DNA evaluated with {D5, ND14, and HBB1}

## Slide 2: Exemplar Graphics: cdPCR
Amplification Curves
Ogive Plots
Representative panel, copied directly
from Fluidigm’s diagnostic display
Produced from Ct values provided in Fluidigm’s “Detailed Table Results” export files. For details see: Duewer DL; Kline MC; Romsos EL. Real-time cdPCR opens a window into events occurring in the first few PCR amplification cycles. Anal Bioanal Chem 2015, 407, 9061-9069.
Each ogive displays the cumulative distribution of Ct values for a set of replicate panels as a function of λ=-ln(1-i/Ntot)*RDF, where i indexes the rank-ordered Cts and RDF is the Relative Dilution Factor. RDF is by default 1.0, but differs when non-standard DNA dilutions were used. Here, the concentration of the uncut TE solution was 1.25 times that of the enzyme cut materials, for an RDF of 1/1.25 = 0.8.
Low Resolution
High Resolution

## Slide 3: D5: Cut vs Sham-cut NIST2_Sham_cd48_58-D5_1670088062, 58°C, 20150908
Sham-cut
PstI
HaeIII
AluI
TE
NTC
Cut

## Slide 4: HBB1: Cut vs Sham-cut NIST2_Sham_cd48_62-HBB1_1670088061, 62°C, 20150904
Sham-cut
TE
NTC
Cut
PstI
HaeIII
AluI

## Slide 5: D5: Cut vs Sham-cut NIST3_Sham_cd48_58-D5_1670088188, 58°C, 20150922
Sham-cut
EcoRI
PstI
AluI
HaeIII
Cut

## Slide 6: ND14: Cut vs Sham-cut NIST3_Sham_cd48_58-ND14_1670088187, 58°C, 20150922
Sham-cut
EcoRI
PstI
AluI
HaeIII
Cut

## Slide 7: HBB1: Cut vs Sham-cut NIST3_Sham_cd48_62-HBB1_1670088189, 62°C, 20150922
Sham-cut
EcoRI
PstI
AluI
HaeIII
Cut

## Slide 8: Exemplar Graphics: ddPCR
Pst
Alu
Eco
Hae
TE
NTC
Representative panel, copied directly
from Bio-Rad’s 1-D display
The blue dots represent the fluorescence intensities of positive (above threshold) ddPCR droplets in a given assay. The grey dots represent the background fluorescence of the negative (below threshold) droplets. The magenta horizontal line represents the user-global intensity threshold for the assay. The horizontal axis represents the droplet counting sequence. The light yellow vertical lines mark the well-boundaries.
Sample labels (added)
Well labels
Threshold intensity
Potentially a failed replicate;
analyst judgement required to evaluate whether or not to use result

## Slide 9: NIST2: Cut & Sham-cut
D5
ND14
NIST2_Sham_dd_58-D5&ND14_20150807
NIST2_Sham_dd_62-HBB1_20150807
HBB1

## Slide 10
NIST3: Cut & Sham-cut
D5
ND14
NIST3_Sham_dd_58-D5&ND14_20150921
NIST3_Sham_dd_62-HBB1_20150922
HBB1