## Slide 1: Evaluating Digital PCR for the quantification of human genomic DNA: Accessible amplifiable targets Margaret C. Kline, Erica L. Romsos, David L. Duewer Materials Measurement Laboratory National Institute of Standards and Technology Gaithersburg, MD 20899-8390 USA Contact: David.Duewer@nist.gov Supporting Information Exemplar ddPCR graphics of: {AluI, HaeIII, EcoRI, and PstI}-restricted + untreated {NIST1, NIST2, NIST3, and NIST4} DNAs evaluated with {D5, ND14, 2PR4, NR4Q, 22C3, ND6, HBB1, NEIF} assays.

## Slide 2: Exemplar Graphics: ddPCR
Pst
Alu
Eco
Hae
TE
NTC
Representative panel, copied directly
from Bio-Rad’s 1-D display
The blue dots represent the fluorescence intensities of positive (above threshold) ddPCR droplets in a given assay. The grey dots represent the background fluorescence of the negative (below threshold) droplets. The magenta horizontal line represents the user-global intensity threshold for the assay. The horizontal axis represents the droplet counting sequence. The light yellow vertical lines mark the well-boundaries.
Sample labels (added)
Well labels
Threshold intensity
Potentially a failed replicate;
analyst judgement required to evaluate whether or not to use result

## Slide 3
D5
ND14
NIST1_Enz_dd_58_20150709
58 °C
Pst
Alu
Eco
Hae
TE
NTC
NIST1_Enz_dd_62_20150710
62 °C
HBB1
NEIF
Pst
Alu
Eco
Hae
TE
NTC
Pst
Alu
Eco
Hae
TE
NTC
Pst
Eco
Hae
TE
NTC
NIST1: D5, ND14, HBB1, and NEIF

## Slide 4: NIST1: 2PR4, NR4Q, 22C3, and ND6
2PR4
NR4Q
22C3
ND6
Pst
Alu
Eco
Hae
TE
NTC
Pst
Eco
TE
NTC
NTC
Pst
Alu
Eco
TE
NTC
Pst
Alu
Eco
TE
NIST1_Enz_dd_58_20150709, 58 °C

## Slide 5
NIST2: D5, ND14, HBB1, and NEIF
D5
ND14
NIST2_Enz_dd_58_20150721
58 °C
Pst
Alu
Eco
Hae
TE
NTC
NIST2_Enz_dd_62_20150721
62 °C
HBB1
NEIF
Pst
Alu
Eco
Hae
TE
NTC
Pst
Alu
Eco
Hae
TE
NTC
Pst
Eco
Hae
TE
NTC

## Slide 6: NIST2: 2PR4, NR4Q, 22C3, and ND6
2PR4
NR4Q
22C3
ND6
Pst
Alu
Eco
Hae
TE
NTC
Pst
Eco
TE
NTC
NTC
Pst
Alu
Eco
TE
NTC
Pst
Alu
Eco
TE
NIST2_Enz_dd_60_20150722, 60 °C

## Slide 7: NIST3: D5, ND14, HBB1, and NEIF
NIST3_Enz_dd_62_2015081862 °C
D5
ND14
Pst
Alu
Eco
Hae
TE
Pst
Alu
Eco
Hae
TE
Pst
Alu
Eco
Hae
TE
HBB1
NEIF
Pst
Eco
Hae
TE
NIST3_Enz_dd_58_20150818
58 °C

## Slide 8: NIST3: 2PR4, NR4Q, 22C3, and ND6
2PR4
NR4Q
22C3
ND6
NIST3_Enz_dd_60_20150818 60°C
Pst
Alu
Eco
Hae
TE
Pst
Eco
TE
Pst
Alu
Eco
TE
Pst
Alu
Eco
TE

## Slide 9: NIST4: D5, ND14, HBB1, and NEIF
ND14
Failed
NIST4_Enz_dd_62_20150901
62 °C
NIST4_Enz_dd_58_20150831
58 °C
D5
ND14
Pst
Alu
Eco
Hae
TE
Pst
Alu
Eco
Hae
TE
Pst
Alu
Eco
Hae
TE
HBB1
NEIF
Pst
Eco
Hae
TE

## Slide 10: NIST4: 2PR4, NR4Q5, 22C3, and ND6
2PR4
NR4Q5
22C3
ND6
NIST4_Enz_dd_60_20150901 60 °C
Pst
Alu
Eco
Hae
TE
Pst
Eco
TE
Pst
Alu
Eco
TE
Pst
Alu
Eco
TE