## Slide 1: Standardized Uptake Values in FDG PET/CT for Prosthetic Heart Valve Endocarditis: A Call for Standardization
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology
AM Scholtens1, LE Swart2, HJ te Kolste3, HJ Verberne4, RPJ Budde2, MGEH Lam5
1: Meander Medical Center, Amersfoort, the Netherlands
2: Erasmus Medical Center, Rotterdam, the Netherlands
3: VU Medical Center, Amsterdam, the Netherlands .
4: Academic Medical Center, Amsterdam, the Netherlands
5: University Medical Center Utrecht, the Netherlands
Copyright American Society of Nuclear Cardiology

## Slide 2: BACKGROUND
1- FDG PET/CT is increasingly used in prosthetic heart valve endocarditis (PVE).
2- FDG PET/CT allows for semi-quantitative measurement of glucose metabolism in standardized uptake values (SUV).
3- The value of SUV in PVE is as yet uncertain.
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology

## Slide 3: METHODS
Type:
  Review of the available literature on SUV in PVE
Included studies:
  Studies reporting SUV in PHV patients in relation to final diagnosis of PVE (definite/possible/rejected)
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology

## Slide 4: RESULTS
8 eligible studies
Large variation in acquisition, reconstruction and measurement parameters
Large variation in reported SUVs with overlap
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology

## Slide 5: RESULTS
Study | Year | Patients | Valves | Patient preparation | FDG dose | Time to acquisition | Reconstruction method reported | EARL accredited site | Camera type
Mathieu et al. | 2017 | 51 | 54 | 6 hr fast* | 4 MBq/kg | 60 min | "3-dimensional time-of-flight ordered-subsets expectation maximization" | yes | GE Discovery 690
Jiménez-Ballvé et al. | 2016 | 41 | 42 | 48 hr HFLC diet, 12 hr fast, 50 IU/kg heparin pre-administration | 5 MBq/kg | 45 to 60 min | "iterative reconstruction" | no | Siemens Biograph 6 TruePoint
Salomäki et al. | 2015 | 23 | 16 | 24 hr LC diet, 10 hr fast | mean 280 MBq | mean 72 min | Ordered subset expectation maximization | yes | GE Discovery VCT
Fagman et al. | 2015 | 30 | 30 | HFLC meal, 18 hr fast (n=11) | 4 MBq/kg | 60 min | "default iterative" | yes | Siemens Biograph TruePoint 64
 |  |  |  | 6 hr fast (n=19)† |  |  |  |  | 
Pizzi et al. | 2015 | 92 | 65 | 12 hr fast, 50 IU/kg heparin pre-administration | 3.7 MBq/kg | 60 min | Iterative TrueX + Time of Flight | no | Siemens Biograph mCT 64S
Rouzet et al. | 2014 | 39 | 45 | HFLC meal, 12 hr fast | 4 MBq/kg | 60 min | "iterative 3-dimensional reconstruction algorithm of the system software" | yes | GE Discovery 690
Bartoletti et al. | 2014 | 6 | 6 | not reported | not reported | not reported | not reported | no | not reported
Saby et al. | 2013 | 72 | 72 | HFLC meal, 12 hr fast | 5 MBq/kg | 60 min | Ordered subset expectation maximization | no | GE Discovery ST
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology

## Slide 6: RESULTS
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology

## Slide 7: CONCLUSION
SUVs reported in the current literature on FDG PET/CT in PVE vary due to different acquisition, reconstruction and measurement methods.
Standardized measurements on EARL accredited reconstructions seem a sensible and feasible starting point for a uniform protocol to allow for better comparison of results between different centres.
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology

## Slide 8: RECOMMENDATION
Example of proposed measurement standardization in a mitral valve prosthesis.
Fused PET/CT images (upper row) and corresponding attenuation corrected PET images (below) showing whole-valve measurement VOI (in this case a self-expanding VOI set to include voxels ≥40% of maximum) and VOI sphere in the descending aorta (lower right). Uptake in myocardium (hardly present here) and the aortic wall are excluded.
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology