{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Supplement table 1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Supplement table 1","index":0,"n_rows":102,"n_cols":4,"rows_kept":102,"cut":false,"hidden":false,"merged":[]}
[null,"Supplement table 1: Detail of 100 variable windows. "]
[null,"start m/z","end m/z","Collision Energy Spread (CES)"]
[null,399.5,406.5,5]
[null,405.5,412.5,5]
[null,411.5,418.5,5]
[null,417.5,424.5,5]
[null,423.5,430.5,5]
[null,429.5,436.5,5]
[null,435.5,442.5,5]
[null,441.5,448.5,5]
[null,447.5,454.5,5]
[null,453.5,459.5,5]
[null,458.5,464.5,5]
[null,463.5,469.5,5]
[null,468.5,474.5,5]
[null,473.5,479.5,5]
[null,478.5,484.5,5]
[null,483.5,489.5,5]
[null,488.5,494.5,5]
[null,493.5,499.5,5]
[null,498.5,504.5,5]
[null,503.5,509.5,5]
[null,508.5,514.5,5]
[null,513.5,519.5,5]
[null,518.5,524.5,5]
[null,523.5,529.5,5]
[null,528.5,534.5,5]
[null,533.5,539.5,5]
[null,538.5,544.5,5]
[null,543.5,549.5,5]
[null,548.5,554.5,5]
[null,553.5,559.5,5]
[null,558.5,564.5,5]
[null,563.5,569.5,5]
[null,568.5,574.5,5]
[null,573.5,579.5,5]
[null,578.5,584.5,5]
[null,583.5,589.5,5]
[null,588.5,594.5,5]
[null,593.5,599.5,5]
[null,598.5,604.5,5]
[null,603.5,609.5,5]
[null,608.5,614.5,5]
[null,613.5,619.5,5]
[null,618.5,624.5,5]
[null,623.5,629.5,5]
[null,628.5,634.5,5]
[null,633.5,639.5,5]
[null,638.5,644.5,5]
[null,643.5,649.5,5]
[null,648.5,654.5,5]
[null,653.5,660.5,5]
[null,659.5,666.5,5]
[null,665.5,672.5,5]
[null,671.5,678.5,5]
[null,677.5,684.5,5]
[null,683.5,690.5,5]
[null,689.5,696.5,5]
[null,695.5,702.5,5]
[null,701.5,708.5,5]
[null,707.5,714.5,5]
[null,713.5,720.5,5]
[null,719.5,726.5,5]
[null,725.5,732.5,5]
[null,731.5,738.5,5]
[null,737.5,744.5,5]
[null,743.5,750.5,5]
[null,749.5,756.5,5]
[null,755.5,763.5,5]
[null,762.5,770.5,5]
[null,769.5,777.5,5]
[null,776.5,784.5,5]
[null,783.5,791.5,5]
[null,790.5,798.5,5]
[null,797.5,805.5,5]
[null,804.5,812.5,8]
[null,811.5,819.5,8]
[null,818.5,826.5,8]
[null,825.5,834.5,8]
[null,833.5,842.5,8]
[null,841.5,850.5,8]
[null,849.5,858.5,8]
[null,857.5,867.5,8]
[null,866.5,876.5,8]
[null,875.5,885.5,8]
[null,884.5,894.5,8]
[null,893.5,903.5,8]
[null,902.5,914.5,8]
[null,913.5,925.5,8]
[null,924.5,936.5,8]
[null,935.5,950.5,8]
[null,949.5,964.5,8]
[null,963.5,978.5,8]
[null,977.5,992.5,8]
[null,991.5,1011.5,10]
[null,1010.5,1030.5,10]
[null,1029.5,1054.5,10]
[null,1053.5,1078.5,10]
[null,1077.5,1117.5,10]
[null,1116.5,1156.5,10]
[null,1155.5,1200.5,10]
[null,1199.5,1249.5,10]