## Slide 1: Saline-push Improves Rubidium-82 PET Image Quality
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology
  Jennifer M Renaud, Kai Yi Wu, Kimberly Gardner,
  May Aung, Rob SB Beanlands, Robert A deKemp
  University of Ottawa Heart Institute, Ontario, Canada
Institution
Picture/Logo
Optional
Copyright American Society of Nuclear Cardiology

## Slide 2: BACKGROUND
1- Rubidium-82 (82Rb) PET is used widely for myocardial perfusion imaging.
2- Maintaining image quality over the full shelf-life of the generator is a challenge using 82Rb PET in patients who are obese or have low cardiac output.
3- This study investigated if an additional saline-push following the 82Rb elution improves image quality.
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology

## Slide 3: METHODS
Study type: Retrospective, observational, paired cohort.
Study subjects: Six scans (4 rest, 2 stress) performed without (-push) and then with (+push) 26 mL saline flush of the 82Rb- generator tubing, patient IV lines, peripheral and central veins.
Study endpoints:
  Primary end point(s): Changes in image counts, SNR, CNR and blood background noise (COV)
  Secondary end point(s): Correlation with LVEF
Study variables:
  Elution mode: ± saline-push
  Eluted 82Rb activity
  Patient LVEF
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology

## Slide 4: RESULTS
Effects on 82Rb image quality with vs. without saline-push. Total 82Rb activity (MBq) eluted from the generator was unchanged, but the activity delivered to the heart (SVC) and retained in the LV myocardium increased by more than 2-fold. LV-to-blood SNR and CNR increased by 24% and 27%, with concordant decrease in the blood background COV by 19% (all p≤0.01).
Error bars are ±95% confidence intervals of the mean.
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology

## Slide 5: RESULTS
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology
82Rb PET perfusion images at rest in patient #1 (59-year-old male, 138 kg, BMI=48, LVEF=25%) obtained with (A) and without (B) the additional 26 mL saline-push following elution of the prescribed activity from the generator. Image quality and myocardium-to-blood contrast are improved markedly using the saline-push.
A
B

## Slide 6: CONCLUSIONS
1- Saline-push of 25-30 mL is recommended following elution of the prescribed activity from a 82Rb generator to flush the infuser tubing, patient IV lines, and to increase venous return to the heart.
2- This simple technique increases myocardial uptake by 2X, and image SNR and CNR by 25%.
3- The benefits to improve image quality may be highest in patients with low cardiac output to help accelerate clearance from the blood pool.
Copyright American Society of Nuclear Cardiology
Journal of Nuclear Cardiology | Official Journal of the American Society of Nuclear Cardiology