## Slide 1
Supp. Figure 3. The representative calibration curve of G6-Cy5 (left) and G4-Cy3 (right). This calibration curve demonstrates G4-Cy5 is two folds brighter than G6-Cy5. The calibration curve was generated using a Shimadzu RF-5301 spectrofluorophotometer. The wavelengths used for the Cy3-labelled dendrimers are excitation 554 nm and emission 568 nm. The wavelengths used for the Cy5-labelled dendrimers are excitation 645 nm and emission 662 nm. The calibration curve is generated in methanol under excitation slit width 5 and emission slit width 5.