## Slide 1
A
hsRDT worse performance
hsRDT better performance
Difference (sensitivity; %)
Difference [95% CI]
5.1% [-16.4%, 32.0%]*
10.3% [-11.5%, 32.0%]*
[15%]
hsRDT - Microscopy
hsRDT – cRDT
hsRDT worse performance
hsRDT better performance
Difference (sensitivity; %)
hsRDT - LAMP
hsRDT – nPCR
hsRDT – qRT-PCR
[-3%] [+3%]
Difference [95% CI]
-25.6% [-43.5%, -7.8%]*
-12.8% [-32.9%, -7.2%]*
-35.9% [-51.0%, -20.8%]*
B