## Slide 1
Bi-atrial mapping
249 electrodes per atrium
1.5 mm interelectrode distance
Electrode diameter 0.25mm
Unipolar electrograms
North
South
West
East
Centre
West
Centre
East
North
South
Unipolar electrograms with activation time annotation
Octagonal shaped mapping electrodes
Videos visualize 10 s AF recordings (identical frame rates for all)
color fades over a period of 100 ms
grey boxes within the mapping area indicate where electrograms were excluded due to technical reasons