## Slide 1
Extract swab sample into extraction buffer
Add 3 drops of extracted sample onto the test cassette
Judge the result by visual reading without using a digital immunoassay device
*Figures were edited from the Instruction for Use of RapidTesta SARS-CoV-2
Positive result
Negative result