## Slide 1: Spinal cord infarction and peripheral extra corporeal membrane oxygenation- Case Series
EHJ-CR-D-21-00111
September 2021

## Slide 2: Introduction
Veno-arterial extracorporeal membrane oxygenation (VA ECMO) is invaluable in the treatment of patients with cardiogenic shock
When VA ECMO is instituted via femoral vessels, retrograde flow to the descending aorta can compete with antegrade flow leading to a watershed phenomenon
We present three cases demonstrating a catastrophic complication of spinal cord infarction

## Slide 3: Case Presentation History and Examination Findings
Case 1. 49-year-old female with hypertrophic cardiomyopathy underwent orthotopic heart transplantation (OHTx) complicated by primary graft dysfunction.
Case 2. 72-year-old male underwent coronary artery bypass grafting, aortic valve replacement and Maze procedure, requiring an intra-aortic balloon pump (IABP) to be weaned off cardiopulmonary bypass.
Case 3. 38-year-old female with post-partum cardiomyopathy, supported for 7 months on continuous flow left ventricular assist device (HeartWare, Medtronic, MA, USA), underwent orthotopic heart transplant complicated by primary graft dysfunction

## Slide 4: Case Presentation History and Examination Findings
All three patients supported by peripheral VA ECMO within hours of their surgery.
VA ECMO support continued for 7-14 days and then weaned.
Sedation weaned after successful decannulation and lower limb paralysis noted in each patient at that time

## Slide 5: Case Presentation Investigations
Magnetic resonance imaging (MRI) in each patient revealed extensive central spinal cord oedema (red arrows) suggestive of infarction.
Patient 1 (figure a,b);
Patient 2 (figure c,d);
Patient 3 (figure e,f)

## Slide 6: Case Presentation Management
All three patients developed septic complications and multi-organ failure over the next days to weeks, despite maximal therapy.
None of the patient had signs of embolic phenomena
Eventually all three patients succumbed to their complications and died.

## Slide 7: Discussion
Overall incidence 0.3% in the largest reported series of six patients (1)
Incidence in our institution 0.6%
Incidence may be much higher with patients on VA ECMO dying of other complications before diagnosis of a spinal cord infarction.
Potential aetiologies of spinal cord ischaemia include: 1)watershed phenomenon secondary to retrograde ECMO flow; 2) vasopressors or haemodynamic instability; 3) embolic phenomena.

## Slide 8: Discussion
Competing flow between the ejecting heart and the retrograde flow of peripheral VA ECMO can lead to a ‘watershed zone’
As the heart improves, the competing zone moves distally (Figure A-C)
This watershed zone has been imaged with aortography, computed tomography, ultrasound and computational fluid dynamics (2-4).

## Slide 9: Learning Points
Spinal cord infarction as a complication of peripheral VA ECMO is rare but catastrophic.
Diagnosis is often delayed as lower limb paralysis does not become evident until the patient is weaned from sedation
Alternative management strategies may include altered cannulation, artificial pulse or use of an implantable axial flow device

## Slide 10: References
LeGuennec L, Shor N, Levy B, Lebreton G, Leprince P, Combes A, et al. Spinal cord infarction during venoarterial-extracorporeal membrane oxygenation support. J Artif Org 2020;30:1-6
Buchtele N, Staudinger T, Schwameis M, Schörgenhofer C, Herkner H, Hermann A, et al. Feasibility and safety of watershed detection by contrast-enhanced ultrasound in patients receiving peripheral venoarterial extracorporeal membrane oxygenation: a prospective observational study. Critical care 2020;24:126-8
Napp LC, Kuhn C, Hoeper MM, Vogel-Claussen J, Haverich A, Schäfer A et al. Cannulation strategies for percutaneous extracorporeal membrane oxygenation in adults. Clin Res Cardiol 2016;105:283-296
Stevens MC, Callaghan FM, Forrest P, Bannon PG, Grieve SM. Flow mixing during peripheral veno-arterial extra corporeal membrane oxygenation – A simulation study. J Biomech. 2017;55:64-70