## Slide 1
Comparison of the calculation of TLR in a representative sample
(Peritoneal lavage of a patient with early gastric cancer)
Mouse-IgG1
Mouse-IgG1
Anti-CD45
Anti-CD326
Anti-CD45
Mouse-IgG1
Anti-CD326
Mouse-IgG1
Previous method
New method
7-AAD(-) dots:13171
IgG1-FITC(+) %=5/12109=0.083%
IgG1-PE (+)%=18/12109=0.149%
DAPI(+)FVS780(-) dots:23727
CD45(+) %=23393/23727
CD326(+)%=2/23727
7-AAD(-) dots:13171
CD45(+) %=8122/13171=61.67%
CD326(+)%=2/13171=0.015%
DAPI(+)FVS780(-) dots:31647
CD45(+) %=14/31647=0.044%
CD326(+)%=2/31647=0.0063%
CD45(+)
Leukocytes
CD326(+)
Tumor cells
CD45(+)
Leukocytes
CD326(+)
Tumor cells
Non-specific
binding for CD326
Non-specific
binding for CD45
Non-specific
binding for CD45
Non-specific
binding for CD326
CD45, CD326 staining
Negative control staining
CD45, CD326 staining
Negative control staining
TLR=2/8122x100= 0.25%
TLR= 2/23393x100=0.0085%
0.015-0.149 61.67-0.083
Modified TLR= x100 =- 0.22%
Supplementary data 1

## Slide 2
CD326
CD45
CD45(+)
Leukocytes
CD326(+)
Tumor cells
CD326(+)
Tumor cells
CD326(+)
Tumor cells
CD326(+)
Tumor cells
CD326(+)
Tumor cells
CD45(+)
Leukocytes
CD45(+)
Leukocytes
CD45(+)
Leukocytes
CD45(+)
Leukocytes
104 103 102 10 0
Added
MKN45
89246
85763
87068
86796
90910
12165
1109
136
13
0
TLR=13.6% TLR=1.29% TLR=0.16% TLR=0.015% TLR=0%
Experiment 1. Flow cytometry profile and calculation of TLR in experimental system
Supplementary data 2
Experiment 2. Variation of TLR among experiments.
Upper: Various number (10 ~ 103) of MKN45, a human gastric cancer cell, were mixed with 105 cells derived from lavages of a patient without peritoneal metastasis and evaluated the TLR.
Lower: TLR was calculated in 10 different tubes made in the same way and Mean, Standard deviation and Variation coefficient were described.
Added number of MKN45 | 103 | 102 | 10
Mean | 1.18% | 0.11% | 0.019%
Standard deviation | 0.11% | 0.020% | 0.0046%
Variation coefficient | 9.2% | 17.6% | 24.4%

## Slide 3
Supplementary data 3
ROC curves on the correlations between TLR and CY1 or P1 (A) and CY1 (B) in the whole patients
and CY1 in P1 patients (C) and correlation with recurrence in T4 patients (D).
(A) P1 or CY1 vs P0CY0 (B) CY1 vs CY0 (C) CY1 vs CY0 (D) Recurrence (+) vs Recurrence(-)
in whole patients in P1 patients in T4 patients
AUC | 0.8745 | 0.9097 | 0.8481 | 0.8697
95% CI | 0.8188-0.9302 | 0.8596-0.9598 | 0.7426-0.9535 | 0.7345-1.000
Optimal cut off point by Youden Index | 0.07405 | 0.08115 | 0.08115 | 0.0559
Sensitivity | 76.81% | 87.27% | 87.27% | 80.00%
Specificity | 87.84% | 86.21% | 78.57% | 87.88%
Positive predictive value | 85.48% | 91.46% | 61.11% | 61.11%
Negative predictive value | 80.25% | 80.00% | 94.11% | 94.11%